DM9206 TIMER

Main Unit Appearance

# 1. TIME display

# 2. Minute adjust button

3. Start/Stop Button

4. Second adjust button

5. Magnet

6. Battery compartment

# Set up

- Open battery Cover

- Insert 2 x G13-A batteries observing polarity [“ +” and “ –“ marks]

- Replace battery compartment cover, the unit is ready for use now.

# Count Down

- Press “M” and “S” to set the timer

- After setting, press Start/Stop to start countdown function.

- During count down, “M S “icon will be flashing on display.

- The unit would be alarming when counts to zero, press any key to stop the alarm sound.

- Press Start/Stop button to recall the setting.

- Press “M” and “S” button at the same time to reset the timer to zero.

- Maximum count down setting 99minute and 59 second.

# Count up

- Press “M” and “S” button at the same time to reset the timer to zero.

- Press “Start/Stop” to start count up function.

- Maximum count up limit is 99minute and 59 second.

- Press “M” and “S” button at the same time to reset the timer.

Precautions

- Do not expose it to direct sunlight, heavy heat, cold, high humidity or wet areas

- Never clean the device using abrasive or corrosive materials or products. Abrasive cleaning agents may scratch plastic parts and corrode electronic circuits